TRANSMITTAL COVERSHEET

| Document Information |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project No | PF221546 | Plant Code | SASREF - 010 | Project Name |  |  | FUSION |  |
| Project Doc No | PF221546-010-CSI-PCS-SPEC-00001 |  |  |  |  |  | Rev | 02 |
| Vendor Doc No | PF221546-010-PMP-001 |  |  |  |  |  | Rev | 02 |
| Off Taker Doc No | NA |  |  | DATE |  | 29-Nov-2025 | Rev | - |
| Document Title | Functional Design Specification |  |  |  |  |  |  |  |
| Release Purpose | Issued for Information |  |  | Doc Type | Vendor Document |  |  |  |
| Vendor Name | CSI Computech India Pvt.Ltd |  |  | Discipline | Process |  |  |  |
| PO Number | XXXXXXX |  |  | Package Name |  |  |  |  |

| Review Status |  |  |  |
| --- | --- | --- | --- |
| STATUS |  | SIGN |  |
|  |  | DATE |  |

| Status Code Legend |  |
| --- | --- |
| A | APPROVED – No Further submittal required |
| B | APPROVED WITH COMMENTS - Incorporate the comments and resubmit with new revision |
| C | REVIEWED WITH COMMENTS - Incorporate the comments and resubmit with new revision |
| D | REVIEWED - No Further submittal required |
| E | REJECTED - Resubmit for Review |
| F | INFORMATION – Information only |

Comments

Functional Design Specification

For

Project: Fusion

Project No: PF-22-1546

Vendor: CSI Computech India Pvt Ltd

Plant Code: SASREF - 010

Discipline: Process

| REVISION HISTORY |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Rev | Pages | Date | Description | Prepared | Checked | Approved |
| 01 | 22 | 27-Oct- 25 | Initial Issue Functional Design Specification | CSI | xxxxxxx | xxxxxx |
| 02 | 23 | 24-Nov-25 | Revised issue Functional Design Specification | CSI | xxxxxxx | xxxxxxx |

TABLE OF CONTENTS

Executive Summary	4

1.1.	Project Overview	4

1.2.	Key Business Benefits	4

2.	Project Scope & Objectives	5

2.1	Functional Scope	5

2.1.1.	In Scope:	5

2.1.2.	Out of Scope:	5

2.2.	Business Objectives	5

3.	System Architecture Overview	6

4.	Process & Business Context	7

4.1.	Hydrogen Production Process	7

4.1.1.	Process Stages:	7

4.2.	Contractual Framework (PAP Events)	8

5.	Functional Modules Specification	9

5.1.	Data Acquisition Module	9

5.1.1.	Key Features:	9

5.2.	PAP Event Detection Module	9

6.	Application Design Overview	11

6.1.	Purpose	11

6.2.	The Application Will Be Organized into Five Major Menu Groups, Each Representing a Functional Area Within The DFTPC Solution:	11

6.3.	Form & Screen Design	12

6.4.	Reports Design	13

6.4.1.	Daily Operations Report	13

6.4.2.	Monthly KPI Report	14

6.4.3.	PAP Event Summary Report	14

6.5.	Dashboard Wireframe Overview	17

6.5.1.	Dashboard Layout	17

6.6.	Navigation Wireframe	18

6.7.	Role-Based Access Matrix	19

7.	User Access & Security	20

7.1.	Role-Based Access Control	20

7.2.	Security Implementation	21

7.2.1.	Audit Logging:	21

## Executive Summary

## Project Overview

This Functional Design Specification (FDS) defines the complete requirements and solution architecture for the DFTPC (Data For Total Payment Calculations) system. The solution automates data collection, KPI calculations, PAP (Performance Adjustment Payment) event detection, and comprehensive reporting for the SASREF hydrogen production facility.

## Key Business Benefits

Automated Compliance: Real-time PAP event detection and contractual reporting
Operational Excellence: Live KPI monitoring and performance optimization
Cost Reduction: 35% savings compared to traditional PI System implementations
Audit Transparency: Complete calculation traceability and event logging
Scalable Platform: Future-ready architecture for plant expansions

## Project Scope & Objectives

## Functional Scope

### In Scope:

- Automated KPI calculations (as per provided Report Format)

- PAP event detection and penalty calculations (DSQm, FEPPm, PEPPm, ROGPPm, PACm)

- User access control and audit logging

### Out of Scope:

- Modifications to existing DCS or IP.21 configuration

- Plant process optimization consulting

- Integration with ERP or financial systems

## Business Objectives

| Objective | Success Criteria | Measurement Method |
| --- | --- | --- |
| Automated Reporting | 100% automated daily report generation | Report delivery log analysis |
| Real-time Monitoring | <5 minute data refresh cycles | Dashboard performance metrics |
| Calculation Accuracy | 99.9% accuracy vs manual calculations | UAT validation results |
| System Reliability | 99.5% uptime during production hours | System monitoring dashboards |
| User Adoption | 90% user satisfaction in UAT | User feedback surveys |

## System Architecture Overview

Note: System architecture diagram showing complete data flow is included in the visual appendix.

## Process & Business Context

## Hydrogen Production Process

The SASREF facility produces high-purity hydrogen through Steam Methane Reforming (SMR) technology:

### Process Stages:

- SMR Unit: Natural gas + steam → H₂ + CO (at 700-1000°C)

- Water-Gas Shift: CO + steam → additional H₂ + CO₂

- Methanation: Trace CO/CO₂ → CH₄ (easier separation)

- PSA Purification: Molecular sieves achieve 99.9% H₂ purity

- MBU Recovery: Membrane separation recovers H₂ from waste streams

## Contractual Framework (PAP Events)

Performance Adjustment Payments (PAP) are contractual mechanisms that impose financial penalties for operational underperformance:

- DSQm: Monthly deductions for H₂ shortfall quantity

- FEPPm: Feedstock efficiency performance penalties

- PEPPm: Power efficiency performance penalties

- ROGPPm: Refinery off-gas recovery efficiency penalties

- PACm: Power adjustment deductions

## Functional Modules Specification

## Data Acquisition Module

Purpose: Extract real-time and historical data from IP.21 historian

### Key Features:

Tag-based Data Collection: Automated querying of mapped IP.21 tags

Historical Backfill: Recovery of missed data during downtime

Data Quality Validation: Bad data detection and filtering

Time Synchronization: Timestamp alignment across data sources

Python Implementation: ip21_collector.py script uses python library for IP2 connectivity, implements tag mapping from configuration file, writes data to CCI Cake using Historian API, and includes comprehensive error handling and logging.

## PAP Event Detection Module

Purpose: Monitor contractual performance thresholds and detect penalty events

DSQm Event Detection:
  • Trigger: H₂ pressure <22.5 barg AND Available H₂ < Required H₂
  • Duration: >15 consecutive minutes
  • 1-minute intervals with 15-minute moving average

FEPPm Event Detection:
  • Trigger: Actual feedstock > Target × (1 + 2.5%)
  • Evaluation: Monthly aggregated consumption
  • Penalty based on excess above allowable band

PEPPm Event Detection:
  • Trigger: Actual power > Target × (1 + 5%)
  • Target: 0.53 MWh/MT Net H₂ Output
  • Allowable Deviation: 5% band above target

## Application Design Overview

## Purpose

This section defines the user interface design, menu hierarchy, forms, reports, and dashboards that will be developed in the CCI Cake platform for the Fusion – DFTPC (Data For Total Payment Calculations) system.

It illustrates how end-users will interact with the system through structured menus, data entry forms, and visual dashboards

## overview:

The Application Will Be Organized into Five Major Menu Groups, Each Representing a Functional Area Within the DFTPC Solution:

| Main Menu | Submenus | Purpose / Description |
| --- | --- | --- |
| Dashboard | - Real-Time KPIs & Efficiency Trends | Displays live process metrics, PAP events, and performance visualizations from the IP.21 historian. |
| Manual Entry | -Manual Forms - Quality Data Upload | Allows authorized users to enter manual/analysis data through graphics-based forms in CCI Cake. |
| Reports | - Daily Operations Report - Finance Monthly Report - PAP Event Summary - Analysis Report - Shortfall Report | Provides preformatted operational and performance reports with export and auto-email capabilities. |
| Administration | - User & Role Management - Menu Access Control - Settings & Maintenance | Handles user authorization, role-based menu access, and overall system configuration. |

## Form & Screen Design

Each form or screen has been designed to provide intuitive, role-based interaction while ensuring operational integrity and data validation.

| Form/Screen Name | Purpose | Key Fields / Controls | User Roles |
| --- | --- | --- | --- |
| Manual Entry (Lab Analysis) | Record manually measured quality data | Date, Parameter, Measured Value | Operator |
| Report Viewer | Display generated reports (as per given format) | Date Selectable, Report Type, Export (Excel/PDF), Email Option | All Roles |
| KPIs & Trends | View user and system metrics | Date Selectable, Measured Value | All Roles |
| User & Role Management | Configure user accounts and privileges | Username, Role Assignment, Status | Engineer |

## Reports Design

### Daily Report

Header:

- Title: Daily Report

- Month and Year selection (dropdown) with “SHOW” button

- Export options: Excel, PDF

Body Sections:

- Parameter Overview:
Displays daily operational and production parameters for the selected month. Each parameter shows daily values and a monthly total.

- Daily Records:

  - Data displayed for each day of the selected month (1st to 31st).

  - Each row shows the daily trend for the corresponding tag name and unit.

  - Monthly total or average is displayed in the last column.

- Tags and Units:

  - Each parameter is linked to a corresponding tag name (e.g., 60FG00105, avg_HHV_Q927191Q).

  - Units are standardized (e.g., %, Hrs, T/Day, MW, MMBTU/Day).

Footer:

- Prepared by / Verified by / Approved by

- Remarks section for noting operational highlights or deviations

Purpose:
Provides a day-wise summary of plant performance, energy use, and gas production. Supports daily monitoring, trend tracking, and monthly performance verification.

### Analysis Report

Header:

- Title: LAB ANALYSIS DATA

- Date selection option with “View Report” button

- Export options: Excel, PDF

Body Sections:

- Component Analysis:
Shows gas composition and other lab parameters for different process points as provided in Report format

- Parameters Covered:

  - Gaseous Components: H₂, N₂, CO, CO₂, CH₄, C₁–C₅, iC₄, nC₄

  - Chemical & Physical Data: Moisture, CO₂ Concentration, RFB, TSS, Water, Oxazolidinone, ATB, ATB-RFB

- Detailed Entry Window:

  - Opens when a section (e.g., Sales Gas Analysis) is selected

  - Shows daily values for each component

  - Supports data view and update with Save / Cancel options, including modification of past dated records as requested

- Report View:

  - Displays all component data for a selected date

  - Allows export to Excel or PDF

Footer:

- Prepared by / Verified by / Approved by

- Optional remarks section

Purpose:
Summarizes lab results for key gas streams and process parameters. Helps track purity, composition, and process efficiency across different units.

### Monthly Finance Report

Header:

- Report Title: BHIG/SASREF FINANCE REPORT

- Month & Year (Selectable via dropdown)

- Export Options: Excel / PDF

- Display Controls: Month and Year selection with “SHOW” button

Body Sections:

- Summary of Operational Metrics:

  - Plant Load (%)

  - Total Operation Hours (Hrs)

  - Average Sales Gas Molecular Weight (T/Tmole)

  - Selected HHV (btu/nm³)

  - Total Sales Gas Energy Rate (MMBTU/Day)

- Process & Production Parameters:

  - CCR, GRH, MBUR, and MBU Gas Flows (T/Day)

  - Pure H₂ Product and Recovery (T/Day)

  - Fuel Gas Consumption and HP Steam Export (T/Day)

  - Total BFW Flow and Power Generation (MW)

- Energy & Utility Consumption:

  - Natural Gas (NG) Consumption (MMBTU)

  - RFG Consumption (MMBTU)

  - Total Power Consumption (MW)

- Special Conditions and Events:

  - Force Majeure Status (Yes/No)

  - Startup/Shutdown Hours without Production

Footer:

- Prepared by / Verified by / Approved by

- Notes or remarks section (if applicable)

Export & Distribution:

- Export options: Excel / PDF

- Automated storage on file server

- Auto-email distribution to configured stakeholders (Finance, Production, and Management teams)

Purpose:
Provides a consolidated monthly summary of plant performance, energy utilization, production efficiency, and key operational parameters for financial and management analysis.

### Monthly Totalizer Report

Header:

- Report Title: Monthly Totalizer Report

- Month & Year: Selectable via dropdown menus

- Display Control: “SHOW” button to view selected period data

Body Sections:

- Hydrogen Section

- Steam Section

- Flared Gas Section

- Feedstock Section

- Power Section

- CCR Net Gases Section

- Refinery Fuel Gas Section

- Third-Party Hydrogen Section

- Purchase / Procurement of Hydrogen Section

Footer:

- Prepared by / Verified by / Approved by

- Remarks or special observations section (optional)

Export & Distribution:

- Export options: Excel / PDF

- Auto-email to configured recipients (Plant Management, Finance, and Operations teams)

- Stored automatically on file server for recordkeeping

Purpose:
Provides a comprehensive monthly summary of all plant totalizers including hydrogen production, feedstock and energy usage, flared gas losses, and efficiency indicators. This report acts as a performance and audit record, supporting financial reconciliation and operational benchmarking.

## Dashboard Wireframe Overview

### Dashboard Layout

The dashboard consists of four primary panels:

- KPI Gauges: Hydrogen purity, feedstock efficiency, PSA/MBU recovery.

- Trends Graphs: Time-series plots for H₂ production, power, and gas flow.

- Alerts Panel: List of current and past PAP events.

- Summary Tiles: Real-time efficiency and deviation indicators.

Design Characteristics:

- Color-coded thresholds (Green/Yellow/Red)

- Drill-down from plant overview → unit → tag level

- Compatible with both desktop and tablet viewports

## Role-Based Access Matrix

| Role | Accessible Menus | Permissions |
| --- | --- | --- |
| Operator | Dashboard, Reports (Daily), Manual Entry | Read/Write data entry, view dashboards |
| Engineer | Dashboard, Data Management, Reports | Configure tags, view all reports |

## User Access & Security

## Role-Based Access Control

| Role | Dashboard Access | Report Access | Configuration Rights |
| --- | --- | --- | --- |
| Operator | Operations dashboard (read-only) | Daily reports | Manual data entry |
| Engineer | All dashboards + configuration | All reports | User and Role confurigation |

## Security Implementation

Primary Authentication: Windows Active Directory integration

Fallback Authentication: Local CCI Cake user accounts

Session Management: Automatic timeout after inactivity

Password Policy: Corporate security standards compliance

### Audit Logging:

- User Activities: Login/logout, configuration changes, data overrides

- System Events: Service starts/stops, connection failures, calculation errors

- Data Changes: Manual entries, corrections, approved modifications

- Report Access: Generation timestamps, recipient confirmations